Determination of Caffeine in Soda Pop

Introduction:

High performance liquid chromatography (HPLC) is a type of chromatography which is very similar to liquid chromatography.  In HPLC, however, the stationary  phase column is more tightly packed than in other types of liquid chromatography.  In this lab, the column is packed with C18 particles that are less than 10 µm in diameter.  The small diameter of the particles allows unprecedented resolution and high efficiency.  Since the particles in the column are so small, it is necessary to pump the mobile phase through the column at a very high pressure.  The pump keeps a precise flow rate so that the positions of the peaks in time can be used to identify the species in a sample.  This is done by comparing the chromatographs of prepared standards of the particular species to be determined.  The common peak is an indication of the standard.

A small sample (10 L) is injected into the injector port where the mobile phase moves it through the column.  Each component, being different in physical composition, will move at a different rate through the C18 column.  Thus, the components will be separated according to the size and shape of the molecules.  The smallest and least hindered molecules will be eluted first since it is easiest for them to pass through the finely packed column.  As each set of  molecules elutes from the column, a detector (most often UV) recognizes it and records a peak. The area of this peak (in relation to the area of other peaks) is proportional to the concentration of that particular species in the sample. The identity can also be  found by comparing the sample peaks to standards.  Identical substances (peaks) will have identical retention times.

Theory:

Purpose:

The purpose of this lab is to determine the amount of caffeine in a sample of soda.

Materials:

| Waters 510 HPLC system | vacuum |
| --- | --- |
| 273 UV detector | 60 mL syringe |
| C18 column | caffeine standards |
| 30:70 methanol : water (HPLC grade,degassed) | soft drink samples |
| 10 L syringes | distilled water |
| Strip Chart Recorder | HPLC grade methanol |

Safety:

- Always wear safety glasses in the lab.

Procedure:

Preparation of soda samples

1.	Obtain a soft drink sample.

2.	Degas the sample by placing it in a vacuum flask and connecting the flask to a vacuum pump or water aspirator.  Leave it under vacuum until no more bubbles appear in the soda sample.  (If no vacuum is available, you can carefully heat a soft drink sample on a hot plate to remove the bubbles, or allow the soda to stand open overnight.)

Preparation of caffeine standards

1.	Prepare a 0.25 mg/ml solution of caffeine.

2.	Prepare standard caffeine samples of 0.05, 0.08, 0.10, 0.13, 0.15, 0.18, and 0.20 mg/ml by diluting portions of the 0.25 mg/ml solution with distilled water.

Instrument set-up

1.	Obtain the degassed 30:70 methanol : water solvent for the mobile phase.

2.	Place solvent tube with attached metal filter into the solvent bottle – the filter must be submerged.  Place the thin tube with attached black trap into the waste bottle.  Place the short thin tube with no attachment into another waste bottle.

3.	Turn on the HPLC.  (The switch is at the right front.)  Prime the pump by attaching a 60 mL plastic syringe to the nozzle at the right front of the prime/purge valve.  Open the valve by turning the knob to the left.  Bring the flow of solvent up to 1.00 mL/min by using the “wheels” on the front display.  Make sure the valve is open before pushing the prime button.  If it is not, the column could be damaged.  Push the prime button and pull solvent into the syringe until no air bubbles are observed in the solvent tubing or the syringe.  Stop the pump, close the valve, and remove the syringe.  Press the run button and let the HPLC run approximately 15 minutes before injecting your sample.  (Make certain that waste is collecting in the waste bottle.)  Discard the solvent in the syringe in the waste bottle.

4.	Turn on the UV detector and let it warm up for about 15 minutes.  Set the range to 1.000 and the wavelength/absorbance to 273 nm

Strip Chart Recorder

5.	The strip chart should be set at a chart speed of 10mm/min.

6.	The voltage should be at 10 mV.  Make sure that it is attached to the UV detector and that all leads are secure.

Syringe Preparation

7.	Clean the syringe by rinsing several times with the solution to be injected.

8.	Rinse the 10L syringe several times with your sample.  Draw up sample just past the 10 L mark, and expell down to 10 L; make sure that there is no air in the syringe.

10.	Make sure the injector lever is in the LOAD position, and insert the sample with the syringe.

11.	Move injector lever to INJECT position.  Immediately push the START button on the UV Detector and mark a line on the strip chart as your starting point.

12.	The run may be stopped by pressing the STOP key on the detector.

13.	Return injector lever to LOAD position.

14.	Print or save any runs if instructed to do so.

15.	Repeat steps 7 - 13 for each sample (standards and sodas).

Analysis of data

1.	Use standard caffeine samples to identify the caffeine peak and record the retention time of caffeine.  The peak will increase from 0.05 mg/ml – 0.20 mg/ml and will be after the small solvent peak.

2.	Use the retention time to determine if caffeine is present in the soda pop sample.

3.	To quantitatively determine the amount of caffeine in the sample, measure the caffeine peaks of the standards, and construct a standard curve.

To shut down HPLC

1.	Clean syringe with methanol (HPLC grade).

2.	Run 100% methanol (HPLC grade) as a solvent for 5-10 minutes.

3.	Turn off pump, detector, and computer.

Note: Failure to clean the column may result in a clogged column.  Please clean after each class.

Data/Calculations:

Retention of caffeine in standards:

| Standard (mg/ml) | Area |
| --- | --- |
| 0.05 |  |
| 0.08 |  |
| 0.10 |  |
| 0.13 |  |
| 0.15 |  |
| 0.18 |  |
| 0.20 |  |

List retention times and areas for the peaks in your soda sample(s).  Use retention time to determine if caffeine was present, and use area to determine the concentration of the caffeine.

Questions:

1.  Briefly explain how HPLC is used as a separation technique.

2.  What is the purpose of the mobile phase?  Of the stationary phase?

3.  What is the purpose of the caffeine standards?

4.  Why does the syringe have to be carefully rinsed before each use?

5.  How could you be certain a peak in the soda was caffeine and not another substance

with a similar retention time?